***************************************************************************

USACE / NAVFAC / AFCESA / NASA               UFGS-01 35 26 (February 2009)

-----------------------------

Preparing Activity:  NAVFAC                  Superseding

UFGS-01 35 29 (November 2008)

UNIFIED FACILITIES GUIDE SPECIFICATIONS

References are in agreement with UMRL dated January 2009

***************************************************************************

SECTION 01 35 26

GOVERNMENTAL SAFETY REQUIREMENTS

02/09

***************************************************************************

NOTE:  This guide specification covers the requirements for safety and occupational health requirements for the protection of Contractor and Government personnel, property and resources.

Edit this guide specification for project specific requirements by adding, deleting, or revising text.  For bracketed items, choose applicable items(s) or insert appropriate information.

Remove information and requirements not required in respective project, whether or not brackets are present.

Comments and suggestions on this guide specification are welcome and should be directed to the technical proponent of the specification.  A listing of technical proponents, including their organization designation and telephone number, is on the Internet.

Recommended changes to a UFGS should be submitted as a Criteria Change Request (CCR).

This guide specification includes tailoring options for NAVY and ARMY.  Selection or deselection of a tailoring option will include or exclude that option in the section, but editing the resulting section to fit the project is still required.

***************************************************************************

***************************************************************************

This guide specification is intended for use in contracts that specify Federal Acquisition Regulation (FAR) clause 52.236-13, "Accident Prevention", and/or it's Alternate I, to include contracts for construction, dismantling, renovation and demolition; dredging; environmental restoration (investigation, design, remediation); asbestos abatement or lead hazard control; projects in the continental U.S. and overseas.

NOTE:  The requirements of this guide specification supplement U.S. Army Corps of Engineers (USACE) Safety and Health Requirements Manual, EM 385-1-1, and clarify safety concerns for high-risk construction activities. All contracts that include FAR clause 52.236-13 require the Contractor to prepare and execute a written Accident Prevention Plan (APP) in accordance with Appendix A of EM 385-1-1 to include Activity Hazard Analyses (AHAs).

Some contracts, based upon the work to be performed (environmental restoration, asbestos abatement or lead hazard control), require additional special safety and health plans to be made part of and appended to the APP.  Pertinent UFGS contract sections include UFGS Section 01351 SAFETY, HEALTH, AND EMERGENCY RESPONSE (HTRW/UST) for environmental restoration project; UFGS Section 02 82 14.00 10(Army), or 02 82 16.00 20(Navy), for asbestos abatement; and, UFGS Section 02 83 19.00 10(Army), or 02 83 13.00 20(Navy), for lead hazard control activities. For Navy environmental restoration contracts, an APP is required with the overall contract and a site specific Health and Safety Plan is required for each task order (contact the EFD/EFA Safety Manager for applicability).

In addition, when any work under a service, supply or research and development contract is to be performed on Government-owned, leased or controlled real property, or on board Government-owned, leased or controlled plant or equipment, a determination must be made whether to use FAR clause 52.236-13, and/or its Alternate I, and this specification.  The need for the use of FAR clause 52.236-13, and/or its Alternate I, and this specification must be determined from the hazards presented by the supplies to be delivered, the services to be provided or the research and development to be performed.  The Contracting Officer in consultation with the technical proponent and safety and health personnel will make the determination.

Many states and municipalities have more stringent or additional requirements and this section should be modified as required to meet local conditions and regulations.

***************************************************************************

# PART 1   GENERAL

## 1.1   REFERENCES

***************************************************************************

NOTE:  This paragraph is used to list the publications cited in the text of the guide specification. The publications are referred to in the text by basic designation only and listed in this paragraph by organization, designation, date, and title.

Use the Reference Wizard's Check Reference feature when you add a RID outside of the Section's Reference Article to automatically place the reference in the Reference Article.  Also use the Reference Wizard's Check Reference feature to update the issue dates.

References not used in the text will automatically be deleted from this section of the project specification when you choose to reconcile references in the publish print process.

***************************************************************************

The publications listed below form a part of this specification to the extent referenced.  The publications are referred to within the text by the basic designation only.

AMERICAN SOCIETY OF SAFETY ENGINEERS (ASSE/SAFE)

ASSE/SAFE A10.32	(2004) Fall Protection

ASSE/SAFE A10.34	(2001; R 2005) Protection of the Public on or Adjacent to Construction Sites

ASSE/SAFE Z359.1	(2007) Safety Requirements for Personal Fall Arrest Systems, Subsystems and Components

ASME INTERNATIONAL (ASME)

ASME B30.22	(2005) Articulating Boom Cranes

ASME B30.3	(2004) Construction Tower Cranes

ASME B30.5	(2007) Mobile and Locomotive Cranes

ASME B30.8	(2004) Floating  Cranes and Floating Derricks

NATIONAL FIRE PROTECTION ASSOCIATION (NFPA)

NFPA 10	(2007; Errata 2007; AMD 1 2007) Standard for Portable Fire Extinguishers

NFPA 51B	(2008) Fire Prevention During Welding, Cutting, and Other Hot Work

NFPA 70	(2007; AMD 1 2008) National Electrical Code - 2008 Edition

NFPA 70E	(2008) Electrical Safety in the Workplace

U.S. ARMY CORPS OF ENGINEERS (USACE)

EM 385-1-1	(2008) Safety and Health Requirements Manual

U.S. NATIONAL ARCHIVES AND RECORDS ADMINISTRATION (NARA)

29 CFR 1910	Occupational Safety and Health Standards

29 CFR 1910.146	Permit-required Confined Spaces

29 CFR 1926	Safety and Health Regulations for Construction

29 CFR 1926.500	Fall Protection

## 1.2   SUBMITTALS

***************************************************************************

NOTE:  Review submittal description (SD) definitions in Section 01 33 00 SUBMITTAL PROCEDURES and edit the following list to reflect only the submittals required for the project.  Submittals should be kept to the minimum required for adequate quality control.

A “G” following a submittal item indicates that the submittal requires Government approval.  Some submittals are already marked with a “G”.  Only delete an existing “G” if the submittal item is not complex and can be reviewed through the Contractor’s Quality Control system.  Only add a “G” if the submittal is sufficiently important or complex in context of the project.

For submittals requiring Government approval on Army projects, a code of up to three characters within the submittal tags may be used following the "G" designation to indicate the approving authority.  Codes for Army projects using the Resident Management System (RMS) are:  "AE" for Architect-Engineer; "DO" for District Office (Engineering Division or other organization in the District Office); "AO" for Area Office; "RO" for Resident Office; and "PO" for Project Office.  Codes following the "G" typically are not used for Navy,  Air Force, and NASA projects.

Choose the first bracketed item for Navy, Air Force and NASA projects, or choose the second bracketed item for Army projects.

***************************************************************************

Government approval is required for submittals with a "G" designation; submittals not having a "G" designation are for information only.  When used, a designation following the "G" designation identifies the office that will review the submittal for the Government.  Submit the following in accordance with Section 01 33 00 SUBMITTAL PROCEDURES:

***************************************************************************

NOTE:  A "G" followed by "A" indicates that the submittal requires Government acceptance.

***************************************************************************

Government acceptance is required for submittals with a "G" designation.

SD-01 Preconstruction Submittals

Accident Prevention Plan (APP);  G

Activity Hazard Analysis (AHA);  G

Crane Critical Lift Plan;  G

Proof of qualification for Crane Operators;  G

SD-06 Test Reports

Reports

Submit reports as their incidence occurs, in accordance with the requirements of the paragraph entitled, "Reports."

Accident Reports

Monthly Exposure Reports

Crane Reports

Gas Protection

SD-07 Certificates

Confined Space Entry Permit

Hot work permit

License Certificates

Submit one copy of each permit/certificate attached to each Daily Quality Control Report.

## 1.3   DEFINITIONS

a.   High Visibility Accident.  Any mishap which may generate publicity and/or high visibility.

b.  Medical Treatment. Treatment administered by a physician or by registered professional personnel under the standing orders of a physician.  Medical treatment does not include first aid treatment even through provided by a physician or registered personnel.

c.  Recordable Injuries or Illnesses.  Any work-related injury or illness that results in:

(1)   Death, regardless of the time between the injury and death, or the length of the illness;

(2)   Days away from work (any time lost after day of injury/illness onset);

(3)   Restricted work;

(4)   Transfer to another job;

(5)   Medical treatment beyond first aid;

(6)   Loss of consciousness; or

(7)   A significant injury or illness diagnosed by a physician or other licensed health care professional, even if it did not result in (1) through (6) above.

d.   "USACE" property and equipment specified in USACE EM 385-1-1 should be interpreted as Government property and equipment.

***************************************************************************

NOTE:  Include the following item on all NAVY projects; Item is optional on ARMY projects.

***************************************************************************

e.   Weight Handling Equipment (WHE) Accident.  A WHE accident occurs when any one or more of the six elements in the operating envelope fails to perform correctly during operation, including operation during maintenance or testing resulting in personnel injury or death; material or equipment damage; dropped load; derailment; two-blocking; overload; and/or collision, including unplanned contact between the load, crane, and/or other objects.  A dropped load, derailment, two-blocking, overload and collision are considered accidents even though no material damage or injury occurs.  A component failure (e.g., motor burnout, gear tooth failure, bearing failure) is not considered an accident solely due to material or equipment damage unless the component failure results in damage to other components (e.g., dropped boom, dropped load, roll over, etc.).

## 1.4   REGULATORY REQUIREMENTS

***************************************************************************

NOTE: The specifier will list in the bracket the Federal, state and local laws, regulations and statutes; host nation requirements; Navy, Air Force and Army installations, US Army Corps of Engineers District requirements by authority and document number, which apply to the work to be performed.  The specifier should consult with the supporting local safety and occupational health office for assistance in identifying local requirements.

***************************************************************************

In addition to the detailed requirements included in the provisions of this contract, comply with USACE EM 385-1-1, and the following federal, state, and local, laws, ordinances, criteria, rules and regulations .  Submit matters of interpretation of standards to the appropriate administrative agency for resolution before starting work.  Where the requirements of this specification, applicable laws, criteria, ordinances, regulations, and referenced documents vary, the most stringent requirements govern.

## 1.5   SITE QUALIFICATIONS, DUTIES AND MEETINGS

### 1.5.1   Personnel Qualifications

***************************************************************************

NOTE: Coordinate with the supporting local safety and occupational health office to determine the level of qualifications required for the Site Safety and Health Officer (SSHO) based on the hazards of the project. Select the appropriate competency level from those listed below.  Guidance for selection of SSHO:

Level 1 should be selected for small non-hazardous service or maintenance projects.

Level 2 should be selected for minor construction, service and maintenance projects.  Normally will have a dollar value of less than $200,000.  Sample projects include: minor re-roofing or window replacement.

Level 3 should be selected for small to mid-size construction projects that have limited hazards with the potential to cause serious injury/illness.  Normally will have a dollar value of less than $2 million.  Sample projects include: aircraft wash racks, paving, two story buildings less that 30,000 sq ft or utility modifications.

Level 4 should be selected for construction projects that may involve potential risk to life or cause serious injury or illness.  Normally will have a dollar value less than $15 million.  Sample projects include: buildings greater than 30,000 sq ft or large utility projects.

Level 5 should be selected for medium to large construction projects that may involve potential risk to life, property or environment.  Any dollar value.  Sample projects include: waterfront improvements, fuel tank projects and tower projects.

Level 6 should be selected for large, complex, and high hazard construction and service projects, or any project that requires significant safety and health leadership, management and oversight activities.  Any dollar value.  Sample projects include: chemical process facilities, complex hospitals and environmental clean-ups.

When levels 4, 5 or 6 are selected, select the required areas of competency necessary for the project.  At least 4 must be identified.

NOTE:  For all NAVFAC Pacific projects include the following paragraph.

***************************************************************************

#### 1.5.1.1   Site Safety and Health Officer (SSHO)

***************************************************************************

NOTE:  When this safety specification allows the use of the QC person as the SSHO in the following paragraph, tailor the QC specification SECTION 01 45 02 NAVFAC QUALITY CONTROL or 01 45 01 USACE QUALITY CONTROL to ensure consistency.

***************************************************************************

***************************************************************************

NOTE:  For ALL GUAM PROJECTS AND ONLY FOR GUAM PROJECTS select the bracketed optin for the 40 hr. Construction Hazard Awareness Course provide by the Guam Contractors Association for Levels 2-6.

***************************************************************************

Provide a site Safety and Health Officer (SSHO) at the work site at all times to perform safety and occupational health management, surveillance, inspections, and safety enforcement for the Contractor. The Contractor Quality Control (QC) person can be the SSHO on this project. Meet the following requirements within the SSHO:

Level 3:

A minimum of 5 years safety work on similar projects.

30-hour OSHA construction safety class or equivalent within the last 5 years.

An average of at least 24 hours of formal safety training each year for the past 5 years.

Competent person training as needed.

***************************************************************************

NOTE:  For NAVFAC PACIFIC only

***************************************************************************

#### 1.5.1.2   Construction Safety Hazard Awareness Training

In addition to the above experience, education, and training requirements, the Site Safety and Health Officer (SSHO) must have completed the course entitled "Construction Safety Hazard Awareness Training for Contractors".  If the SSHO does not have a current certification, they must obtain the course certification within sixty (60) calendar days from award.  This course is periodically offered by Guam Contractors Association, General Contractors Association of Hawaii, Hawaii Building Industry Foundation, and Associated Builders and Contractors - Hawaii Chapter.

#### 1.5.1.3   Crane Operators

Meet the crane operator's requirements in USACE EM 385-1-1, Section 16 and Appendix G.  In addition, for mobile cranes with Original Equipment Manufacturer (OEM) rated capacitates of 50,000 pounds or greater, designate crane operators as qualified by a source that qualifies crane operators (i.e., union, a government agency, or an organization that tests and qualifies crane operators).  Provide proof of current qualification.

***************************************************************************

NOTE:  Add the following paragraph for projects in the State of Hawaii only.

***************************************************************************

### 1.5.2   Personnel Duties

#### 1.5.2.1   Site Safety and Health Officer (SSHO)

a.  Conduct daily safety and health inspections and maintain a written log which includes area/operation inspected, date of inspection, identified hazards, recommended corrective actions, estimated and actual dates of corrections. Attach safety inspection logs to the Contractors' daily quality control report.

b.  Conduct mishap investigations and complete required reports.  Maintain the OSHA Form 300 and Daily Production reports for prime and sub-contractors.

c.  Maintain applicable safety reference material on the job site.

d.  Attend the pre-construction conference, pre-work meetings including preparatory inspection meeting, and periodic in-progress meetings.

e.  Implement and enforce accepted APPS and AHA.

f.  Maintain a safety and health deficiency tracking system that monitors outstanding deficiencies until resolution.  Post a list of unresolved safety and health deficiencies on the safety bulletin board.

g.  Ensure sub-contractor compliance with safety and health requirements.

Failure to perform the above duties will result in dismissal of the superintendent and/or SSHO, and a project work stoppage.  The project work stoppage will remain in effect pending approval of a suitable replacement.

### 1.5.3   Meetings

#### 1.5.3.1   Preconstruction Conference

a. Contractor representatives who have a responsibility or significant role in accident prevention on the project shall attend the preconstruction conference.  This includes the project superintendent, site safety and health officer, quality control supervisor, or any other assigned safety and health professionals who participated in the development of the APP (including the Activity Hazard Analyses (AHA) and special plans, program and procedures associated with it).

b. Discuss the details of the submitted APP to include incorporated plans, programs, procedures and a listing of anticipated AHA that will be developed and implemented during the performance of the contract.  This list of proposed AHA will be reviewed at the conference and an agreement will be reached between the Contractor and the Contracting Officer's representative as to which phases will require an analysis.  In addition, establish a schedule for the preparation, submittal, review, and acceptance of AHA to preclude project delays.

c. Deficiencies in the submitted APP will be brought to the attention of the Contractor at the preconstruction conference, and the Contractor shall revise the plan to correct deficiencies and re-submit it for acceptance.  Do not begin work until there is an accepted APP.

d.   The functions of a Preconstruction conference may take place at the Post-Award Kickoff meeting for Design Build Contracts.

## 1.6   ACCIDENT PREVENTION PLAN (APP)

Use a qualified person to prepare the written site-specific APP. Prepare the APP in accordance with the format and requirements of USACE EM 385-1-1 and as supplemented herein. Cover all paragraph and subparagraph elements in USACE EM 385-1-1, Appendix A, "Minimum Basic Outline for Accident Prevention Plan".  Specific requirements for some of the APP elements are described below.  The APP shall be job-specific and address any unusual or unique aspects of the project or activity for which it is written.  The APP shall interface with the Contractor's overall safety and health program.  Include any portions of the Contractor's overall safety and health program referenced in the APP in the applicable APP element and made site-specific. The Government considers the Prime Contractor to be the "controlling authority" for all work site safety and health of the subcontractors. Contractors are responsible for informing their subcontractors of the safety provisions under the terms of the contract and the penalties for noncompliance, coordinating the work to prevent one craft from interfering with or creating hazardous working conditions for other crafts, and inspecting subcontractor operations to ensure that accident prevention responsibilities are being carried out.  The APP shall be signed by the person and firm (senior person) preparing the APP, the Contractor, the on-site superintendent, the designated site safety and health officer and any designated CSP and/or CIH.

Submit the APP to the Contracting Officer 15calendar days prior to the date of the preconstruction conference for acceptance.  Work cannot proceed without an accepted APP.

Once accepted by the Contracting Officer, the APP and attachments will be enforced as part of the contract. Disregarding the provisions of this contract or the accepted APP will be cause for stopping of work, at the discretion of the Contracting Officer, until the matter has been rectified.

Once work begins, changes to the accepted APP shall be made with the knowledge and concurrence of the Contracting Officer, project superintendent, SSHO and quality control manager.  Should any hazard become evident, stop work in the area, secure the area, and develop a plan to remove the hazard.  Notify the Contracting Officer within 24 hours of discovery.  Eliminate/remove the hazard. In the interim, take all necessary action to restore and maintain safe working conditions in order to safeguard onsite personnel, visitors, the public (as defined by ASSE/SAFE A10.34,) and the environment.

Copies of the accepted plan will be maintained at the Contracting Officer's office and at the job site.

Continuously reviewed and amended the APP, as necessary, throughout the life of the contract.  Incorporate unusual or high-hazard activities not identified in the original APP as they are discovered.

### 1.6.1   EM 385-1-1 Contents

In addition to the requirements outlines in Appendix A of USACE EM 385-1-1, the following is required:

a. Crane Critical Lift Plan. Prepare and sign weight handling critical lift plans for lifts over 75 percent of the capacity of the crane or hoist (or lifts over 50 percent of the capacity of a barge mounted mobile crane's hoists) at any radius of lift; lifts involving more than one crane or hoist; lifts of personnel; and lifts involving non-routine rigging or operation, sensitive equipment, or unusual safety risks.  Submit 15 calendar days prior to on-site work and include the requirements of USACE EM 385-1-1, paragraph 16.C.18. and the following:

(1)   For lifts of personnel, demonstrate compliance with the requirements of 29 CFR 1926.550(g).

(2)   For barge mounted mobile cranes, barge stability calculations identifying barge list and trim based on anticipated loading; and load charts based on calculated list and trim.  The amount of list and trim shall be within the crane manufacturer's requirements.

b.   Occupant Protection Plan.  The safety and health aspects of lead-based paint removal, prepared in accordance with Section 02 83 19.00 10 LEAD BASED PAINT HAZARD ABATEMENT, TARGET HOUSING & CHILD OCCUPIED FACILITIES.

c.   Lead Compliance Plan.  The safety and health aspects of lead work, prepared in accordance with Section 02 83 13.00 20 LEAD IN CONSTRUCTION.

d.  Asbestos Hazard Abatement Plan.  The safety and health aspects of asbestos work, prepared in accordance with Section 02 82 14.00 10 ASBESTOS ABATEMENT.

e.  Site Safety and Health Plan. The safety and health aspects prepared in accordance with Section 01 35 29.13 HEALTH, SAFETY, AND EMERGENCY RESPONSE PROCEDURES FOR CONTAMINATED SITES.

f.  PCB Plan.  The safety and health aspects of Polychlorinated Biphenyls work, prepared in accordance with Sections 02 84 33 REMOVAL AND DISPOSAL OF POLYCHLORINATED BIPHENYLS and 02 61 23 REMOVAL AND DISPOSAL OF PCB CONTAMINATED SOILS.

g.  Site Demolition Plan.  The safety and health aspects prepared in accordance with Section 02 41 00 DEMOLITION and referenced sources.  Include engineering survey as applicable.

h.  Excavation Plan.  The safety and health aspects prepared in accordance with Section 31 00 00 EARTHWORK.

## 1.7   ACTIVITY HAZARD ANALYSIS (AHA)

The Activity Hazard Analysis (AHA) format shall be in accordance with USACE EM 385-1-1. Submit the AHA for review at least 15 calendar days prior to the start of each phase.  Format subsequent AHA as amendments to the APP. The analysis should be used during daily inspections to ensure the implementation and effectiveness of the activity's safety and health controls.

The AHA list will be reviewed periodically (at least monthly) at the Contractor supervisory safety meeting and updated as necessary when procedures, scheduling, or hazards change.

Develop the activity hazard analyses using the project schedule as the basis for the activities performed.  Any activities listed on the project schedule will require an AHA.  The AHA will be developed by the contractor, supplier or subcontractor and provided to the prime contractor for submittal to the Contracting Officer.

## 1.8   DISPLAY OF SAFETY INFORMATION

Within 1 calendar days after commencement of work, erect a safety bulletin board at the job site.  Include and maintain information on safety bulletin board as required by EM 385-1-1, section 01.A.06.  Additional items required to be posted include:

a.  Confined space entry permit.

b.  Hot work permit.

## 1.9   SITE SAFETY REFERENCE MATERIALS

Maintain safety-related references applicable to the project, including those listed in the article "References."  Maintain applicable equipment manufacturer's manuals.

## 1.10   EMERGENCY MEDICAL TREATMENT

Contractors will arrange for their own emergency medical treatment.  Government has no responsibility to provide emergency medical treatment.

## 1.11   HOT WORK

Submit and obtain a written permit prior to performing "Hot Work" (welding, cutting, etc.) or operating other flame-producing/spark producing devices, from the Fort Lewis Fire Prevention Branch.  CONTRACTORS ARE REQUIRED TO MEET ALL CRITERIA BEFORE A PERMIT IS ISSUED.  The Contractor will provide at least two (2) twenty (20) pound 4A:20 BC rated extinguishers for normal "Hot Work".  All extinguishers shall be current inspection tagged, approved safety pin and tamper resistant seal.  It is also mandatory to have a designated FIRE WATCH for any "Hot Work" done at this activity.  The Fire Watch shall be trained in accordance with NFPA 51B and remain on-site for a minimum of 30 minutes after completion of the task or as specified on the hot work permit.

When starting work in the facility, require personnel to familiarize themselves with the location of the nearest fire alarm boxes and place in memory the emergency Fire Department phone number.  ANY FIRE, NO MATTER HOW SMALL, SHALL BE REPORTED TO THE RESPONSIBLE FIRE DEPARTMENT IMMEDIATELY.

***************************************************************************

NOTE: Specifier will include the following paragraph in USACE marine operation projects involving fuel tank/pipes that have the potential for explosive atmospheres, and NAVY projects as applicable.

***************************************************************************

Obtain services from a NFPA Certified Marine Chemist for "HOT WORK" within or around flammable materials (such as fuel systems, welding/cutting on fuel pipes) or confined spaces (such as sewer wet wells, manholes, vaults, etc.) that have the potential for flammable or explosive atmospheres.

## 1.12   FACILITY OCCUPANCY CLOSURE

Streets, walks, and other facilities occupied and used by the Government shall not be closed or obstructed without written permission from the Contracting Officer.

## 1.13   SEVERE STORM PLAN

In the event of a severe storm warning, the Contractor must:

a.  Secure outside equipment and materials and place materials that could be damaged in protected areas.

b.  Check surrounding area, including roof, for loose material, equipment, debris, and other objects that could be blown away or against existing facilities.

c.  Ensure that temporary erosion controls are adequate.

# PART 2   PRODUCTS

Not used.

# PART 3   EXECUTION

## 3.1   CONSTRUCTION AND/OR OTHER WORK

### 3.1.1   Hazardous Material Exclusions

Notwithstanding any other hazardous material used in this contract, radioactive materials or instruments capable of producing ionizing/non-ionizing radiation (with the exception of radioactive material and devices used in accordance with USACE EM 385-1-1 such as nuclear density meters for compaction testing and laboratory equipment with radioactive sources) as well as materials which contain asbestos, mercury or polychlorinated biphenyls, di-isocynates, lead-based paint are prohibited.  The Contracting Officer, upon written request by the Contractor, may consider exceptions to the use of any of the above excluded materials.

### 3.1.2   Unforeseen Hazardous Material

The design should have identified materials such as PCB, lead paint, and friable and non-friable asbestos.  If additional material, not indicated, that may be hazardous to human health upon disturbance during construction operations is encountered, stop that portion of work and notify the Contracting Officer immediately.  Within 14 calendar days the Government will determine if the material is hazardous.  If material is not hazardous or poses no danger, the Government will direct the Contractor to proceed without change.  If material is hazardous and handling of the material is necessary to accomplish the work, the Government will issue a modification pursuant to "FAR 52.243-4, Changes" and "FAR 52.236-2, Differing Site Conditions."

## 3.2   PRE-OUTAGE COORDINATION MEETING

Contractors are required to apply for utility outages at least 15 days in advance.  As a minimum, the request should include the location of the outage, utilities being affected, duration of outage and any necessary sketches.  Special requirements for electrical outage requests are contained elsewhere in this specification section.  Once approved, and prior to beginning work on the utility system requiring shut down, attend a pre-outage coordination meeting with the Contracting Officer to review the scope of work and the lock-out/tag-out procedures for worker protection.  No work will be performed on energized electrical circuits unless proof is provided that no other means exist.

## 3.3   SAFETY LOCKOUT/TAGOUT PROCEDURES

Contractor shall ensure that each employee is familiar with and complies with these procedures and 29 CFR 1910.147.

Contracting Officer will, at the Contractor's request, apply  lockout/tagout tags and take other actions that, because of experience and knowledge, are known to be necessary to make the particular equipment safe to work on.

No person, regardless of position or authority, shall operate any switch, valve, or equipment that has an official lockout/tagout tag attached to it, nor shall such tag be removed except as provided in this section.

No person shall work on any equipment that requires a lockout/tagout tag unless he, his immediate supervisor, project leader, or a subordinate has in his possession the stubs of the required lockout/tagout tags.

When work is to be performed on electrical circuits, only qualified personnel shall perform work on electrical circuits.

A supervisor who is required to enter an area protected by a lockout/tagout tag will be considered a member of the protected group provided he notifies the holder of the tag stub each time he enters and departs from the protected area.

Identification markings on building light and power distribution circuits shall not be relied on for established safe work conditions.

Before clearance will be given on any equipment other than electrical (generally referred to as mechanical apparatus), the apparatus, valves, or systems shall be secured in a passive condition with the appropriate vents, pins, and locks.

Pressurized or vacuum systems shall be vented to relieve differential pressure completely.

Vent valves shall be tagged open during the course of the work.

Where dangerous gas or fluid systems are involved, or in areas where the environment may be oxygen deficient, system or areas shall be purged, ventilated, or otherwise made safe prior to entry.

### 3.3.1   Tag Placement

Lockout/tagout tags shall be completed in accordance with the regulations printed on the back thereof and attached to any device which, if operated, could cause an unsafe condition to exist.

If more than one group is to work on any circuit or equipment, the employee in charge of each group shall have a separate set of lockout/tagout tags completed and properly attached.

When it is required that certain equipment be tagged, the Government will review the characteristics of the various systems involved that affect the safety of the operations and the work to be done; take the necessary actions, including voltage and pressure checks, grounding, and venting, to make the system and equipment safe to work on; and apply such lockout/tagout tags to those switches, valves, vents, or other mechanical devices needed to preserve the safety provided.  This operation is referred to as "Providing Safety Clearance."

### 3.3.2   Tag Removal

When any individual or group has completed its part of the work and is clear of the circuits or equipment, the supervisor, project leader, or individual for whom the equipment was tagged shall turn in his signed lockout/tagout tag stub to the Contracting Officer.  That group's or individual's lockout/tagout tags on equipment may then be removed on authorization by the Contracting Officer.

## 3.4   FALL HAZARD PROTECTION AND PREVENTION PROGRAM

Workers in elevated work areas in excess of 6 feet above an adjoining surface require special safety attention.  Establish a fall protection and prevention program, for the protection of all employees exposed to fall hazards.  Within the program include company policy, identify responsibilities, education and training requirements, fall hazard identification, prevention and control measures, inspection, storage, care and maintenance of fall protection equipment and rescue and evacuation procedures.

Prior to commencement of work in elevated work areas, the Contractor shall submit drawings to the Contracting Officer depicting all provisions of his positive fall protection system including, but not limited to, all details of guardrails.  Positive protection for workmen engaged in the installation of structural steel and steel joist shall be provided by safety nets, tie-offs, hydraulic man lifts, scaffolds, or other required means. Decking crews must be tied-off or work over nets or platforms not over 6 feet below the work area.  Walking on beams and/or girders and the climbing of columns is prohibited without positive protection.

### 3.4.1   Training

Institute a fall protection training program.  As part of the Fall Hazard Protection and Prevention Program, provide training for each employee who might be exposed to fall hazards.  Provide training by a competent person for fall protection in accordance with USACE EM 385-1-1, section 21.A.16.

### 3.4.2   Fall Protection Equipment and Systems

Enforce use of the fall protection equipment and systems designated for each specific work activity in the Fall Protection and Prevention Plan and/or AHA at all times when an employee is exposed to a fall hazard.  Protect employees from fall hazards as specified in EM 385-1-1, section 21.  In addition to the required fall protection systems, safety skiff, personal floatation devices, life rings etc., are required when working above or next to water in accordance with USACE EM 385-1-1, paragraphs 05.H. and 05.I.  Personal fall arrest systems are required when working from an articulating or extendible boom, swing stages, or suspended platform.  In addition, personal fall arrest systems are required when operating other equipment such as scissor lifts if the work platform is capable of being positioned outside the wheelbase.  The need for tying-off in such equipment is to prevent ejection of the employee from the equipment during raising, lowering, or travel.  Fall protection must comply with 29 CFR 1926.500, Subpart M, USACE EM 385-1-1 and ASSE/SAFE A10.32.

#### 3.4.2.1   Personal Fall Arrest Equipment

Personal fall arrest equipment, systems, subsystems, and components shall meet ASSE/SAFE Z359.1.  Only a full-body harness with a shock-absorbing lanyard or self-retracting lanyard is an acceptable personal fall arrest body support device.  Body belts may only be used as a positioning device system (for uses such as steel reinforcing assembly and in addition to an approved fall arrest system). Harnesses shall have a fall arrest attachment affixed to the body support (usually a Dorsal D-ring) and specifically designated for attachment to the rest of the system.  Only locking snap hooks and carabiners shall be used. Webbing, straps, and ropes shall be made of synthetic fiber. The maximum free fall distance when using fall arrest equipment shall not exceed  6 feet.  The total fall distance and any swinging of the worker (pendulum-like motion) that can occur during a fall shall always be taken into consideration when attaching a person to a fall arrest system.

### 3.4.3   Fall Protection for Roofing Work

Implement fall protection controls based on the type of roof being constructed and work being performed. Evaluate the roof area to be accessed for its structural integrity including weight-bearing capabilities for the projected loading.  Use of tie-offs, hydraulic man lifts, scaffolds, or other means of roof edge protection methods may be utilized on small structures such as family housing, prefabricated metal buildings, etc.

a.  Low Sloped Roofs:

(1)  For work within 1.8 m (6 feet) of an edge, on low-slope roofs, Protect personnel from falling by use of personal fall arrest systems, guardrails, or safety nets.

(2)  For work greater than 1.8 m (6 feet) from an edge, erect and install warning lines in accordance with 29 CFR 1926.500 and USACE EM 385-1-1.

b.  Steep-Sloped Roofs:  Work on steep-sloped roofs requires a personal fall arrest system, guardrails with toe-boards, or safety nets.  This requirement also includes residential or housing type construction.

### 3.4.4   Existing Anchorage

Certified (or re-certified) by a qualified person for fall protection existing anchorages, to be used for attachment of personal fall arrest equipment in accordance with ASSE/SAFE Z359.1.  Exiting horizontal lifeline anchorages must be certified (or re-certified) by a registered professional engineer with experience in designing horizontal lifeline systems.

### 3.4.5   Horizontal Lifelines

Design, install, certify and use under the supervision of a qualified person horizontal lifelines for fall protection as part of a complete fall arrest system which maintains a safety factor of 2 (29 CFR 1926.500).

### 3.4.6   Guardrails and Safety Nets

Design, install and use guardrails and safety nets in accordance with EM 385-1-1 and 29 CFR 1926 Subpart M. Perimeter guardrails shall be installed at floor, roof, or wall openings more than 6 feet above an adjoining surface and on roof perimeters.  Rails shall be designed to protect all phases of elevated work including, but not limited to, roofing operations and installation of gutters and flashing.  Rails around roofs may not be removed until all work on the roof is complete and all traffic on or across the roof ceases.  Rails shall be designed by a licensed engineer to provide adequate stability under any anticipated impact loading.  As a minimum, the rails shall consist of a top rail at a height of 42 inches, a mid-rail, and a toe board.

### 3.4.7   Rescue and Evacuation Procedures

When personal fall arrest systems are used, the contractor must ensure that the mishap victim can self-rescue or can be rescued promptly should a fall occur.  Prepare a Rescue and Evacuation Plan and include a detailed discussion of the following: methods of rescue; methods of self-rescue; equipment used; training requirement; specialized training for the rescuers; procedures for requesting rescue and medical assistance; and transportation routes to a medical facility.  Include the Rescue and Evacuation Plan within the Activity Hazard Analysis (AHA) for the phase of work, in the Fall Protection and Prevention (FP&P) Plan, and the Accident Prevention Plan (APP).

## 3.5   SCAFFOLDING

### 3.5.1   Stilts

The use of stilts for gaining additional height in construction, renovation, repair or maintenance work is prohibited.

## 3.6   EQUIPMENT

### 3.6.1   Material Handling Equipment

a.  Material handling equipment such as forklifts shall not be modified with work platform attachments for supporting employees unless specifically delineated in the manufacturer's printed operating instructions.

b.  The use of hooks on equipment for lifting of material must be in accordance with manufacturer's printed instructions.

c.   Operators of forklifts or power industrial trucks shall be licensed in accordance with OSHA.

### 3.6.2   Weight Handling Equipment

a. Equip cranes and derricks as specified in EM 385-1-1, section 16.

c.  Comply with the crane manufacturer's specifications and limitations for erection and operation of cranes and hoists used in support of the work.  Perform erection under the supervision of a designated person (as defined in ASME B30.5).  Perform all testing in accordance with the manufacturer's recommended procedures.

d.  Comply with ASME B30.5 for mobile and locomotive cranes, ASME B30.22 for articulating boom cranes, ASME B30.3 for construction tower cranes, and ASME B30.8 for floating cranes and floating derricks.

e.   Under no circumstance shall a Contractor make a lift at or above 90% of the cranes rated capacity in any configuration.

f.  When operating in the vicinity of overhead transmission lines, operators and riggers shall be alert to this special hazard and follow the requirements of USACE EM 385-1-1 section 11 and ASME B30.5 or ASME B30.22 as applicable.

g.  Do not crane suspended personnel work platforms (baskets) unless the Contractor proves that using any other access to the work location would provide a greater hazard to the workers or is impossible.  Do not lift personnel with a line hoist or friction crane.

h.  Inspect, maintain, and recharge portable fire extinguishers as specified in NFPA 10, Standard for Portable Fire Extinguishers.

i.  All employees must keep clear of loads about to be lifted and of suspended loads.

j.  Use cribbing when performing lifts on outriggers.

k.  The crane hook/block must be positioned directly over the load.  Side loading of the crane is prohibited.

l.  A physical barricade must be positioned to prevent personnel from entering the counterweight swing (tail swing) area of the crane.

m.  Certification records which include the date of inspection, signature of the person performing the inspection, and the serial number or other identifier of the crane that was inspected shall always be available for review by Contracting Officer personnel.

n.  Written reports listing the load test procedures used along with any repairs or alterations performed on the crane shall be available for review by Contracting Officer personnel.

o.   Certify that all crane operators have been trained in proper use of all safety devices (e.g. anti-two block devices).

## 3.7   EXCAVATIONS

Perform soil classification by a competent person in accordance with 29 CFR 1926.

### 3.7.1   Utility Locations

Prior to digging, the appropriate digging permit must be obtained.  All underground utilities in the work area must be positively identified by a private utility locating service in addition to any station locating service and coordinated with the station utility department.  Any markings made during the utility investigation must be maintained throughout the contract.

### 3.7.2   Utility Location Verification

The Contractor must physically verify underground utility locations by hand digging using wood or fiberglass handled tools when any adjacent construction work is expected to come within three feet of the underground system.  Digging within  2 feet of a known utility must not be performed by means of mechanical equipment; hand digging shall be used.  If construction is parallel to an existing utility expose the utility by hand digging every 30.5 m (100 feet) if parallel within 1.5 m (5 feet) of the excavation.

### 3.7.3   Shoring Systems

Trench and shoring systems must be identified in the accepted safety plan and AHA.  Manufacture tabulated data and specifications or registered engineer tabulated data for shoring or benching systems shall be readily available on-site for review.  Job-made shoring or shielding must have the registered professional engineer stamp, specifications, and tabulated data.  Extreme care must be used when excavating near direct burial electric underground cables.

### 3.7.4   Trenching Machinery

Operate trenching machines with digging chain drives only when the spotters/laborers are in plain view of the operator.  Provide operator and spotters/laborers training on the hazards of the digging chain drives with emphasis on the distance that needs to be maintained when the digging chain is operating. Keep documentation of the training on file at the project site.

## 3.8   UTILITIES WITHIN CONCRETE SLABS

Utilities located within concrete slabs or pier structures, bridges, and the like, are extremely difficult to identify due to the reinforcing steel used in the construction of these structures.  Whenever contract work involves concrete chipping, saw cutting, or core drilling, the existing utility location must be coordinated with station utility departments in addition to a private locating service.  Outages to isolate utility systems must be used in circumstances where utilities are unable to be positively identified.  The use of historical drawings does not alleviate the contractor from meeting this requirement.

## 3.9   ELECTRICAL

### 3.9.1   Conduct of Electrical Work

Underground electrical spaces must be certified safe for entry before entering to conduct work.  Cables that will be cut must be positively identified and de-energized prior to performing each cut. Positive cable identification must be made prior to submitting any outage request for electrical systems.  Arrangements are to be coordinated with the Contracting Officer and Station Utilities for identification.  The Contracting Officer will not accept an outage request until the Contractor satisfactorily documents that the circuits have been clearly identified.  Perform all high voltage cable cutting remotely using hydraulic cutting tool.  When racking in or live switching of circuit breakers, no additional person other than the switch operator will be allowed in the space during the actual operation.  Plan so that work near energized parts is minimized to the fullest extent possible.  Use of electrical outages clear of any energized electrical sources is the preferred method.  When working in energized substations, only qualified electrical workers will be permitted to enter.  When work requires Contractor to work near energized circuits as defined by the NFPA 70, high voltage personnel must use personal protective equipment that includes, as a minimum, electrical hard hat, safety shoes, insulating gloves with leather protective sleeves, fire retarding shirts, coveralls, face shields, and safety glasses.  In addition, provide electrical arc flash protection for personnel as required by NFPA 70E.  Insulating blankets, hearing protection, and switching suits may also be required, depending on the specific job and as delineated in the Contractor's AHA.

### 3.9.2   Portable Extension Cords

Size portable extension cords in accordance with manufacturer ratings for the tool to be powered and protected from damage.  Immediately remove from service all damaged extension cords.  Portable extension cords shall meet the requirements of NFPA 70.

## 3.10   WORK IN CONFINED SPACES

Comply with the requirements in Section 06.I of USACE EM 385-1-1, OSHA 29 CFR 1910.146 and OSHA 29 CFR 1926.21(b)(6).  Any potential for a hazard in the confined space requires a permit system to be used.

-- End of Section --